## Slide 1
SOFTWARE ARCHITECTURE
3/7/2019
1
© TSI Incorporated Confidential
FMS Software

## Slide 2: Supported OS
Windows 7 (32 & 64 bit)
Professional or above
Windows Server 2012 R2
Windows Server 2016 R2
Windows 10 (32 & 64 bit)
Professional or above

## Slide 3: What is FMS Core?

## Slide 4: FMS software: Supported Databases
Microsoft SQL Server
ODBC
Supported Databases
PostgreSQL *
3/7/2019
© TSI Incorporated Confidential

## Slide 5: Supported Database
Microsoft SQL Server 2012
Microsoft SQL Server 2014
Microsoft SQL Server 2016 x64
PostgreSQL Server (by Default)
Contact TSI Inc. prior using the Databases listed below :
Note:
TCC-168_Authorized_Components_TSI_FMS_Software_RevD
TCC-169_Computer_Requirements_TSI_FMS_Software_RevD

## Slide 6: FMS software: Distributed design
Automatic hot standby
and database mirroring delivers a robust monitoring system
Hot automatic standby monitor
Monitoring hardware (not shown) is connected to dedicated LAN
Clients do not need to be running for the monitoring system to work
Distributed design allows for
components of the monitoring
system to be installed on separate
computers
3/7/2019
6
© TSI Incorporated Confidential

## Slide 7: FMS Topology

## Slide 8
3/7/2019
© TSI Incorporated Confidential
8
Notes: Look at what we can connect to FMS today!
Look at how we can distribute the system design today!

## Slide 9
Reliable
FMS Software
Easy to use
Redundancy – failover (Buddy)
Secure, high availability databases
Redundancy – mirror database
3/7/2019
9
© TSI Incorporated Confidential

## Slide 10
Question ?
3/7/2019
10
© TSI Incorporated Confidential